SECTION  09582:	  CELL  FRAME  CEILING  SYSTEM

***  EDIT NOTE:  THIS SPECIFICATION INCLUDES TEXT FOR TWO CONDITIONS, 1.) WHEN THE CEILING SYSTEM IS TO BE INSTALLED AS A CELL FRAME ONLY INSTALLATION,  AND 2.) WHEN THE CELL FRAME SYSTEM IS TO HAVE THE MANUFACTURER’S SMALLER OPEN CELL SYSTEM INSTALLED AS INFILL PANELS TO THE CELL FRAME MODULES.  DELETE NOTED TEXT WHEN CELL SYSTEM IS NOT REQUIRED. ***

***  TYPICALLY, WHERE BRACKETED ITEMS ARE SHOWN, SELECT EITHER ITEM, OR BOTH, AS APPROPRIATE. ***

PART 1 - GENERAL

1.01	SECTION INCLUDES

A.	Cell frame ceiling systems, including suspension systems and accessories.

B.	Related Sections:

1.	Division 15 Sections:  Mechanical air grilles, diffusers, and fire sprinklers.

2.	Division 16 Sections:  Lighting fixtures.

C.	System Description:

1.	The Cell Frame System consists of prefinished steel members formed into modular grid-like frames of varying sizes.  The system is comprised of structural main runners (carriers), and cross runners.  System includes trim pieces, accessory items, and provisions for the incorporation of mechanical air distribution devices and electrical lighting fixtures.

2.	The Cell Frame modules are to be infilled with manufacturer’s open cell system of varying sizes

***  SELECT 2. ABOVE OR 2. BELOW, OR BOTH, AS APPROPRIATE / REQUIRED BY THE PROJECT.  ***

2.	Cell Frames are to be open to plenum above.

3.	The system installations are for interior applications

D.	Performance Characteristics:  Provide manufacturer’s standard system which when installed will provide the following minimum requirements:

1.	Flame Spread:  0 - 25 per ASTM E-84.

1.02	SUBMITTALS

A.	Product Data:  Manufacturer’s published literature, including specifications.

B.	Shop Drawings:  Submit drawings showing:

1.	Reflected Ceiling Plan(s):   Indicating metal cell frame (and infill open cell system) ceiling layout, ceiling mounted items and penetration locations.

2.	Suspension System, Carrier and Component Layout.

3.	Details of system assembly and connections to building components.

C.	Samples; submit:

1.	Cell Frame  (and open cell infill)  material:  Minimum 8 inch (200 mm) piece of each type and finish.

2.	Color samples:  Manufacturer’s colors (finishes) for Architect’s selection.

3.	Suspension system components and moldings/trim.

D.	Quality Assurance / Control Submittals:

1.	Certificates:

a.	Data substantiating manufacturer and installer qualifications.

b.	Certified data attesting fire rated materials comply with specifications.

2.	Manufacturer’s Instructions: Detailed installation instructions and maintenance data.

1.03	QUALITY ASSURANCE

A.	Manufacturer/Installer Qualifications:

1.	Provide Cell Frame metal ceiling system components (and open cell infill system components) produced by a single manufacturer with a minimum 5 years experience in actual production of specified products and with resources to provide consistent quality in appearance and physical properties, without delaying the work.

2.	Provide suspension system components produced by a single manufacturer to provide compatible components for a complete metal ceiling system installation.

3.	Perform installations using a firm with installers having no less than 3 years of successful experience on projects of similar size and requirements.

B.	Regulatory Requirements:

***  VERIFY, WITH APPLICABLE GOVERNING AGENCIES, THE SPECIFIC STANDARDS TO BE COMPLIED WITH AND INSERT / REFERENCE BELOW.  ***

1.	Fire Rating Performance Characteristics:  Install system to provide a flame spread of 0 - 25, complying with certified testing to ASTM E 84.

2.	Structural Criteria:  Install and certify system to comply with structural load requirements of governing codes.

3.	Suspension System Manufacture, Performance and Testing Standard:  Comply with ASTM C635.

4.	Installation Standard for Suspension System: Comply with ASTM C 636.

C.	Mock-Up:  Prior to beginning installation erect a mock-up section, where directed, using all system components.

D.	Pre-installation Conference:  Conduct a conference, prior to start of installation, to review system requirements, shop drawings, and all coordination needs.

1.04	DELIVERY, STORAGE AND HANDLING

A.	Deliver system components in manufacturer’s original unopened packages, clearly labeled.

B.	Store components in fully enclosed dry space.  Carefully place on skids, to avoid damage from moisture and other construction activities.

C.	Handle components to prevent damage to surfaces and edges, and to prevent distortion and other physical damage.

1.05	PROJECT / SITE CONDITIONS

A.	Existing Conditions:    ***  IF KNOWN, INSERT SPECIFIC PROJECT CONDITIONS THAT WILL AFFECT THE WORK OF THE SECTION.  ***

B.	Begin system installations only after spaces are enclosed and weathertight, and after all wet work and overhead work have been completed.

C.	Prior to starting installations, allow materials to reach ambient room temperature and humidity intended to be maintained for occupancy.

1.06	EXTRA MAINTENANCE MATERIAL

A.	***  INSERT SPECIFIC PERCENTAGE QUANTITIES OF MATERIALS REQUIRED TO BE PROVIDED FOR EACH CEILING TYPE.  ***

B.	Provide extra material, matching installed material, in manufacturer’s original packages clearly labeled.

C.	Deliver extra stock and access tools to owner’s representative.

PART 2 - PRODUCTS

2.01	MANUFACTURER

A.	Provide Luxalon¨ Cell Frame  (and Open Cell infill) Ceiling System manufactured by Hunter Douglas Architectural Products, Inc., 5015 Oakbrook Parkway, Suite 100, Norcross, GA  30093, USA.   Ph. (800) 366-4327

B.	Local representative:  ***  INSERT NAME, ADDRESS AND PHONE NUMBER.  ***

2.02	CELL  FRAME  CEILING  SYSTEM

A.	Cell Frame System component dimensions:

1.	Material / thickness:  Formed from minimum .025 steel.

*** CONTACT MANUFACTURER FOR OPTIONAL ALUMINUM MATERIAL REQUIREMENTS.  .***

2.	Module size:

***  SELECT ONE OR MORE OF THE CELL FRAME SIZES  FROM BELOW, AS REQUIRED BY THE PROJECT.  REFER ALSO TO CONFIGURATIONS INDICATED IN PRODUCT LITERATURE.  CONTACT MANUFACTURER FOR CUSTOM SIZES NOT INDICATED.  ***

12 inches by 48 inches

24 inches by 24 inches

24 inches by 48 inches

36 inches by 36 inches

48 inches by 48 inches

B.	Structural Classification:  (intermediate duty)  (heavy duty) in accordance with ASTM  C 635.

C.	Cell Frame System main runners:  8 foot by (2 inches x 2 inches) (2 inches x 4 inches) (3 inches x 3 inches)  (4 inches x 4 inches), U-shaped profile with a minimum 5/16 inch top return flange.

D.	Cell Frame System cross runners:  24 inches and/or 48 inches by 2 inch high U-shaped sections with exposed face width of 2 inches with a 5/16 inch top return flange.

***CONTACT MANUFACTURER FOR CUSTOM PROFILE (HEIGHTS AND WIDTHS) NOT LISTED.***

*** RETAIN THE FOLLOWING ARTICLE 2.03 WHEN OPEN CELL SYSTEM IS ALSO REQUIRED BY THE PROJECT.***

2.03	OPEN CELL INFILL PANELS

A.	Open Cell Infill Panel dimensions:

1.	Panel size:  (24 inches by 24 inches)  (24 inches by 48 inches).

2.	Material / thickness:  Roll-formed 0.020 inch aluminum.

3.	Blade size:  2 inch high U-shaped section with 3/8 inch wide exposed face width and 3/32 inch top return flange.

4.	Cell module / pattern dimensions:

***  SELECT ONE OR MORE OF THE CELL CONFIGURATIONS / PATTERNS FROM BELOW, AS APPROPRIATE / REQUIRED BY THE PROJECT.  REFER ALSO TO PATTERNS INDICATED IN PRODUCT LITERATURE.  CONTACT MANUFACTURER FOR CUSTOM SIZES NOT INDICATED.  ***

Square:  2 inches by 2 inches

Square:  3 inches by 3 inches

Square:  3.4 inches by 3.4 inches

Square:  4 inches by 4 inches

Square:  4.8 inches by 4.8 inches

Square:  6 inches by 6 inches

Square:  8 inches by 8 inches

Square:  12 inches by 12 inches

Square:  24 inches by 24 inches

Rectangular:  2 inches by 6 inches

Rectangular:  2 inches by 8 inches

Rectangular:  2 inches by 12 inches

Rectangular:  3 inches by 8 inches

Rectangular:  3 inches by 12 inches

Patterned:  3 inches/9 inches

Patterned:  4 inches/8 inches

Patterned:  3 inches/6 inches/3 inches

Patterned:  6 inches/12 inches/6 inches

Patterned:  4 inches/16 inches/4 inches

B.	Structural Classification:  (light duty)  (intermediate duty)  (heavy duty) in accordance with  ASTM C 635.

2.04	TRIM AND ACCESSORY COMPONENTS

*** RETAIN THE FOLLOWING PARAGRAPHS FOR COMPONENT ITEMS APPROPRIATE / REQUIRED BY THE PROJECT.***

A.	Cover Profile:  Manufacturer’s standard U-shaped or angle-shaped moldings to finish all exposed cell frame (and open cell profile member) ends and visible perimeter conditions.

B.	Splice Connectors:  Manufacturer’s standard main runner splice connectors and splice hanger clips.

C.	Fascia / Soffit Panels:  Custom 0.032 inch aluminum panels fabricated to fit irregular, angled, and/or stepped ceiling conditions.

D.	Perimeter trim:  Provide manufacturer’s wall moulding for wall to wall floating trim application.

2.05	FINISHES

A.	Finish:  Factory applied polyester baked enamel.

B.	Color:  (INSERT COLOR SELECTION FROM MANUFACTURER’S STANDARD, SELECT OR PREMIUM COLORS).

PART 3 - EXECUTION

3.01	EXAMINATION

A.	Examine areas receiving metal  ceiling system for conditions that might adversely affect the installation.

B.	Verify that all work above ceiling system has been satisfactorily completed prior to start of ceiling installations.

C.	Do not start ceiling installations until all unsatisfactory conditions affecting ceiling systems have been corrected.

3.02	PREPARATION

A.	Provide layouts for inserts, brackets and other support items required to be installed by other trades.  Furnish inserts, brackets and related items to other trades in a timely manner to preclude construction delays.

B.	Coordinate with other trades for proper installation of inserts and related items.

C.	Verify ceiling layouts by actual field measurements.

1.	Establish ceiling layout to balance borders and minimize out-of-square conditions.  Coordinate all work that penetrates ceiling panels.

3.03	INSTALLATION

A.	Install metal cell ceiling system in accordance with manufacturer’s installation instructions, submittals, applicable industry standards, and governing regulatory requirements for the work.

B.	Suspension System Installation:

1.	Install suspension system to comply with requirements of ASTM C-636.

2.	Support hangers securely from building structure using hanger wires or rods directly attached to structure, or to inserts or other devices with eye-screws, by looping and wire-tying.

3.	Fabricate suspension system by forming into a two directional pattern with main runners at 48 inches on center, and cross runners at (12), (24), (48) inches on center as appropriate for selected module size.

C.	Install ceiling grid and trim pieces with neat, tight joints and to comply with approved details.

1.	Install grid perpendicular to main runners.  Scribe and cut grid components as necessary to fit at borders and other penetrations.

D.	Install air distribution devices and lighting fixtures at indicated locations.

1.	Support devices and fixtures from building structure above, independent from ceiling suspension system.

*** RETAIN THE FOLLOWING PARAGRAPHS E. AND F. WHEN OPEN CELL SYSTEM IS USED FOR CELL FRAME INFILL.  RETAIN COMPONENT ITEMS APPROPRIATE / REQUIRED BY THE PROJECT.***

E.	Plenum Access:

1.	Access plenum by removing panels.

F.	Install edge moulding at perimeter of metal cell ceiling system and at other

locations where required to conceal edges of ceiling.

3.04	ADJUST AND CLEAN

A.	Adjust components to provide uniform tolerances.

B.	Replace all ceiling components that are scratched, dented or otherwise

damaged.

C.	Clean exposed surfaces with non-solvent, non-abrasive commercial type

cleaner.